Q1 – Door with Fresh Air Ports

Q1(X) – Special Location Air Ports

Operator’s Manual

505 Research Drive  Perry, Iowa 50220

Toll-free 800.695.2743  515.465.9363  fax 515.465.9464

www.percival-scientific.com

[This page intentionally left blank]

# Introduction

To help customers create better science, Percival Scientific continuously studies and refines the design of its products to provide the best possible solutions and equipment in the industry.  As such, changes in the design and/or operation of equipment may occur without publication.  Please feel free to contact Percival Scientific directly for product updates.

Information contained within this supplemental user manual shall supersede any conflicting information contained within the basic chamber user manual.

Please read this manual carefully before proceeding with operation

# Revision Log

| Version | Date | Description |
| --- | --- | --- |
| Rev A | 9/23/2024 | Initial Release |

Introduction	3

Revision Log	4

Warranty Information	6

General	8

Construction	8

Technical Specifications	8

Installation	8

Operation	8

Maintenance	8

Parts and Service	8

# Warranty Information

Equipment Limited Warranty

Thank you for purchasing equipment from Percival Scientific, Inc.  Our goal is to provide every customer with an exceptional ownership experience.  We are committed to providing products and services of the highest quality, and your satisfaction is our top priority.  In support of this objective, we present the following warranty.

Warranty Terms

Percival Scientific, Inc. (hereinafter referred to as Percival) warrants that equipment manufactured by Percival shall be free from defect in material or workmanship, when installed, operated and maintained in accordance with instructions provided by Percival.

Warranty Coverage

- Coverage period shall be twenty-four (24) months from the date of delivery

- Percival’s obligation under this warranty is limited to the repair or replacement of defect at no charge for parts, shipping and labor

- Percival reserves the right to inspect the equipment after a warranty claim is made to determine the proper course of corrective action

Exclusions

- Parts or elements damaged from improper installation, including mechanical, electrical and plumbing services, IT infrastructure, inadequate room ventilation, improper water quality, and ambient conditions that are out of specification

- Parts or elements damaged from improper operation

- Parts or elements damaged from improper maintenance

- Parts or elements considered to be consumable, that outlive their normal expected terms of usefulness, such as: light bulbs, filters, desiccant material and CO2 scrubbing media

- Damage resulting from shipment to or relocation within the customer’s facility after equipment has been signed for and ownership is transferred to the customer

- Modification to equipment by the customer without Percival’s consent may void this warranty

- Repair work undertaken without prior consent of Percival may void this warranty

- Damage caused by accident, fire, Force Majeure or Acts of God

Additional Terms

- This warranty is in lieu of any other warranties, expressed or implied, including merchantability or fitness for a particular purpose

- Warranty terms described herein cannot be changed without the expressed, written consent from Percival

- The owner agrees that Percival’s sole liability with respect to defective parts or materials shall be set forth in this warranty, and any claims for incidental or consequential damages are expressly excluded

- This warranty is non-transferable and applies only to the original purchaser

- Repaired or replaced parts shall be warranted only for the unexpired portion of the original warranty, unless otherwise defined

- Parts replaced under warranty shall become the property of Percival

To Make a Warranty Claim

- Document the issue with detailed notes and photographs along with the equipment’s serial number

- Contact Percival’s customer support team at customerservice@percival-scientific.com, parts@percival-scientific.com or 1-800-695-2743

- Once your claim is received, our customer support team will review it and contact you with further instructions

# General

The Q1 option allows for additional air flow in and out of a Percival controlled environment chamber. Ordering this option means that an otherwise standard door will have two passive fresh air ports. The option is applied to a single door. If the chamber has two doors, it should be indicated that the fresh air ports are required for both. The ports are available on left- and right-hand doors.

With the Q1 option, each door has two air ports centered left to right on the door, one being towards the top and the other towards the bottom.

Option Q1(X) is used for fresh air ports that are not on the door or not in the standard positions on the door. The special port locations will need to be specified.

Fresh air ports are less insulated than the doors or walls into which they are installed and are prone to the formation of condensation on their external surfaces.

## Construction

The fresh air ports are designed to allow an air exchange between the interior and exterior of the chamber. They are configured to prohibit light from passing through the ports. The housings are steel, painted white on the exterior to match the chamber and black inside as an additional safeguard against light filtering through the port.

# Technical Specifications

There is approximately 1¾ sq. inch of area for air flow through for each port. Since the fresh air ports have no fan, air flow in or out is determined by conditions driven by other components on the chamber (forced air, pressure changes, etc.).

# Installation

The fresh air ports are installed at the factory.

# Operation

Each port has a manually controlled damper to adjust the air flow. Opening the ports and introducing unconditioned air into the chamber can have a negative effect on control of humidity and temperature.

# Maintenance

The painted parts of the fresh airports can be cleaned the same way as the chamber as described in the chamber manual. If needed, the filter material can be gently rinsed off in water, allowed to dry, and reused.

# Parts and Service

Replacement parts can be ordered from Percival Scientific at:

Ph: 1-800-695-2743

Email: parts@percival-scientific.com

For additional questions regarding this product, please contact Percival’s customer support team at:

Phone: 1-800-695-2743

Email: customerservice@percival-scientific.com

Please have your chamber serial number available for faster and more efficient customer service.