S1 and S2 – Security Package

Operator’s Manual

505 Research Drive  Perry, Iowa 50220

Toll-free 800.695.2743  515.465.9363  fax 515.465.9464

www.percival-scientific.com

[This page intentionally left blank]

# Introduction

To help customers create better science, Percival Scientific continuously studies and refines the design of its products in order to provide the best possible solutions and equipment in the industry.  As such, changes in the design and/or operation of equipment may occur without publication.  Please feel free to contact Percival Scientific directly for product updates.

Information contained within this supplemental user manual shall supersede any conflicting information contained within the basic chamber user manual.

Please read this manual carefully before proceeding with operation

# Revision Log

| Version | Date | Description |
| --- | --- | --- |
| Rev A | 7/30/2025 | Draft |

Introduction	3

Revision Log	4

Warranty Information	6

General	8

Installation	9

Operation	9

Maintenance	10

Troubleshooting	10

Parts and Service	10

# Warranty Information

Equipment Limited Warranty

Thank you for purchasing equipment from Percival Scientific, Inc.  Our goal is to provide every customer with an exceptional ownership experience.  We are committed to providing products and services of the highest quality, and your satisfaction is our top priority.  In support of this objective, we present the following warranty.

Warranty Terms

Percival Scientific, Inc. (hereinafter referred to as Percival) warrants that equipment manufactured by Percival shall be free from defect in material or workmanship, when installed, operated and maintained in accordance with instructions provided by Percival.

Warranty Coverage

- Coverage period shall be twenty-four (24) months from the date of delivery

- Percival’s obligation under this warranty is limited to the repair or replacement of defect at no charge for parts, shipping and labor

- Percival reserves the right to inspect the equipment after a warranty claim is made in order to determine the proper course of corrective action

Exclusions

- Parts or elements damaged from improper installation, including mechanical, electrical and plumbing services, IT infrastructure, inadequate room ventilation, improper water quality, and ambient conditions that are out of specification

- Parts or elements damaged from improper operation

- Parts or elements damaged from improper maintenance

- Parts or elements considered to be consumable, that outlive their normal expected terms of usefulness, such as: light bulbs, filters, desiccant material and CO2 scrubbing media

- Damage resulting from shipment to or relocation within the customer’s facility after equipment has been signed for and ownership is transferred to the customer

- Modification to equipment by the customer without Percival’s consent may void this warranty

- Repair work undertaken without prior consent of Percival may void this warranty

- Damage caused by accident, fire, Force Majeure or Acts of God

Additional Terms

- This warranty is in lieu of any other warranties, expressed or implied, including merchantability or fitness for a particular purpose

- Warranty terms described herein cannot be changed without the expressed, written consent from Percival

- The owner agrees that Percival’s sole liability with respect to defective parts or materials shall be set forth in this warranty, and any claims for incidental or consequential damages are expressly excluded

- This warranty is non-transferable and applies only to the original purchaser

- Repaired or replaced parts shall be warranted only for the unexpired portion of the original warranty, unless otherwise defined

- Parts replaced under warranty shall become the property of Percival

To Make a Warranty Claim

- Document the issue with detailed notes and photographs along with the equipment’s serial number

- Contact Percival’s customer support team at customerservice@percival-scientific.com, parts@percival-scientific.com or 1-800-695-2743

- Once your claim is received, our customer support team will review it and contact you with further instructions

# General

A Security Package option includes a door lock(s), locking power switch cover(s), and a set(s) of dry contacts for connection to an in-house / remote alarm system for temperature. The S1 option is for a single door chamber and the S2 option is for one with two doors.

Door locks are available so the environmental chamber’s door(s) can be manually locked by the user. The door lock provides a keyed security lock for each door. Each lock is provided with two keys. These are common keys that will lock and unlock all the door locks on a chamber. Door locks are placed on the front of the chamber at a height that is easily accessible for a user of average height.

Locking power switch covers are available so access to the power switch(s) can be secured by the administrator. This prohibits turning the power on or off by unauthorized personnel. The lockable cover provides keyed security for each switch. There are two keys provided with each cover. These are common keys that will lock and unlock all the switch cover locks on a chamber. (S2 option is shown on a 22 Series chamber below)

A terminal block is provided to connect an existing remote alarm system to the chamber’s temperature limit system.  Dry alarm contacts are provided with a normally closed set of contacts and a normally open set of contacts.  Depending on the input trigger required for the existing alarm system, make an electrical connection from the alarm input to the appropriate terminals on the terminal block.  If a temperature limit occurs, the state at each set of the contacts will change, meaning that the normally open contacts will close and the normally closed contacts will open.

# Installation

All keys can be found inside the chamber, included with other chamber accessories and uninstalled parts.

# Operation

The locks are all 1/4 turn to lock and unlock.

# Maintenance

These durable locks require no specific washing procedure other than to inspect the lock and keep clean of any debris that will prevent insertion of the key. Over time, lubrication of the locks may be needed.

# Troubleshooting

Alignment between the door lock and strike is set at the factory. Misalignment between the lock and strike can occur if the environmental chamber is not properly levelled at the time of installation.  Door hardware can also loosen with use over time, contributing to misalignment of the door lock.

## Parts and Service

Replacement parts can be ordered from Percival Scientific at:

Ph: 1-800-695-2743

Email: parts@percival-scientific.com

For additional questions regarding this product, please contact Percival’s customer support team at:

Phone: 1-800-695-2743

Email: customerservice@percival-scientific.com

Please have your chamber serial number available for faster and more efficient customer service.